## openEuler20.03-LTS-SP1两类平台板卡兼容性
vendorID | deviceID | svID | ssID | architecture | os | driverName | version | type | driverDate | sha256 | driverSize | chipVendor | boardModel | chipModel | item | downloadLink | 备注
string | string | string | string | string | string | string | string | string | string | string | string | string | string | string | string | string
15b3 | 1015 | 19e5 | d130 | x86_64 | openEuler 20.03 LTS SP1 | mlx5_core | 5.1-2.5.2 | NIC | 2021.3.19 | 4d6ac45a022480d99756907d6536596f | 1.1MB | Mellanox | SP380 | CX-4 Lx EN | 03025SNT/02312LDK | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras-tgz/x86_64/MLNX_OFED_LINUX-5.1-2.5.2.0-openeuler20.03-x86_64-ext.tgz
15b3 | 1015 | 19e5 | d130 | aarch64 | openEuler 20.03 LTS SP1 | mlx5_core | 5.1-2.5.2 | NIC | 2021.4.16 | 4d6ac45a022480d99756907d6536596f | 241MB | Mellanox | SP380 | CX-4 Lx EN | 03025SNT/02312LDK | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras-tgz/aarch64/MLNX_OFED_LINUX-5.1-2.5.2.0-openeuler20.03-aarch64-ext.tgz
15b3 | 1017 | 19e5 | d135 | x86_64 | openEuler 20.03 LTS SP1 | mlx5_core | 5.1-2.5.2 | NIC | 2021.3.19 | 4d6ac45a022480d99756907d6536596f | 1.1MB | Mellanox | SP382 | CX5 | 03026PUN | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras-tgz/x86_64/MLNX_OFED_LINUX-5.1-2.5.2.0-openeuler20.03-x86_64-ext.tgz
15b3 | 1017 | 19e5 | d135 | aarch64 | openEuler 20.03 LTS SP1 | mlx5_core | 5.1-2.5.2 | NIC | 2021.4.16 | 4d6ac45a022480d99756907d6536596f | 241MB | Mellanox | SP382 | CX5 | 03026PUN | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras-tgz/aarch64/MLNX_OFED_LINUX-5.1-2.5.2.0-openeuler20.03-aarch64-ext.tgz
10de | 1eb8 | 10de | 12a2 | x86_64 | openEuler 20.03 LTS SP1 | nouveau | 7.9 | GPU | 2021.3.19 | 0DF5433B2358D645500BD488B91E3C22F1B6F7B5 | 170MB | NVIDIA | Tesla T4 | TU104-895 | 02570029 | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras-tgz/x86_64/NVIDIA-Linux-x86_64-460.73.01.run
15b3 | 1017 | 15b3 | 0006 | x86_64 | openEuler 20.03 LTS SP1 | mlx5_core | 5.1-2.5.2 | NIC | 2021.3.19 | 4d6ac45a022480d99756907d6536596f | 1.1MB | Mellanox | MCX515A-CCAT | CX5 | 06310149 | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras-tgz/x86_64/MLNX_OFED_LINUX-5.1-2.5.2.0-openeuler20.03-x86_64-ext.tgz
15b3 | 1017 | 15b3 | 0006 | aarch64 | openEuler 20.03 LTS SP1 | mlx5_core | 5.1-2.5.2 | NIC | 2021.4.16 | 4d6ac45a022480d99756907d6536596f | 241MB | Mellanox | MCX515A-CCAT | CX5 | 06310149 | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras-tgz/aarch64/MLNX_OFED_LINUX-5.1-2.5.2.0-openeuler20.03-aarch64-ext.tgz
1077 | 2532 | 1077 | 015c | x86_64 | openEuler 20.03 LTS SP1 | qla2xxx | 10.02.04.00_k | FC | 2021.3.22 | 7028d69d70f0eb7525c80bc35a7b247f | 992KB | Qlogic | QLE2560 | ISP2532 | 06030221 | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras/x86_64/Packages/qla2xxx-10.02.04.00_k-1dkms.noarch.rpm
1077 | 2532 | 1077 | 015c | aarch64 | openEuler 20.03 LTS SP1 | qla2xxx | 10.02.04.00_k | FC | 2021.3.22 | 7028d69d70f0eb7525c80bc35a7b247f | 1.1MB | Qlogic | QLE2560 | ISP2532 | 06030221 | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras/aarch64/Packages/qla2xxx-10.02.04.00_k-1dkms.noarch.rpm
15b3 | 1007 | 15b3 | 0006 | x86_64 | openEuler 20.03 LTS SP1 | mlx5_core | 5.1-2.5.2 | NIC | 2021.3.19 | 4d6ac45a022480d99756907d6536596f | 1.1MB | Mellanox | MCX314A-BCCT | CX3-PRO | 06310105 | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras-tgz/x86_64/MLNX_OFED_LINUX-5.1-2.5.2.0-openeuler20.03-x86_64-ext.tgz
15b3 | 1007 | 15b3 | 0006 | aarch64 | openEuler 20.03 LTS SP1 | mlx5_core | 5.1-2.5.2 | NIC | 2021.4.16 | 4d6ac45a022480d99756907d6536596f | 241MB | Mellanox | MCX314A-BCCT | CX3-PRO | 06310105 | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras-tgz/aarch64/MLNX_OFED_LINUX-5.1-2.5.2.0-openeuler20.03-aarch64-ext.tgz
1002 | 67c7 | 1002 | 0b0d | x86_64 | openEuler 20.03 LTS SP1 | amdgpu | version 1(SYSV) | GPU | 2020.12.28 | 67CB2F34DC66D76DE0C84BBF64688B91CE243549 | 5.3MB | AMD | Radeon Pro WX5100 | Polaris 11 | 06320140 | inbox
1002 | 67c7 | 1002 | 0b0d | aarch64 | openEuler 20.03 LTS SP1 | amdgpu | version 1(SYSV) | GPU | 2020.12.28 | 4C5D1B8BFF927AAADF5D6AFC162F91CE0445A417 | 5.3MB | AMD | Radeon Pro WX5100 | Polaris 11 | 06320140 | inbox
1002 | aaf0 | 1002 | aaf0 | x86_64 | openEuler 20.03 LTS SP1 | amdgpu | version 1(SYSV) | GPU | 2020.12.28 | 67CB2F34DC66D76DE0C84BBF64688B91CE243549 | 5.3MB | AMD | Radeon Pro WX5100 Audio | Polaris 11 | 06320140 | inbox
1002 | aaf0 | 1002 | aaf0 | aarch64 | openEuler 20.03 LTS SP1 | amdgpu | version 1(SYSV) | GPU | 2020.12.28 | 4C5D1B8BFF927AAADF5D6AFC162F91CE0445A417 | 5.3MB | AMD | Radeon Pro WX5100 Audio | Polaris 11 | 06320140 | inbox
15b3 | 1015 | 19e5 | d11b | x86_64 | openEuler 20.03 LTS SP1 | mlx5_core | 5.1-2.5.2 | NIC | 2021.3.19 | 4d6ac45a022480d99756907d6536596f | 1.1MB | Mellanox | SP333 | CX4 Lx EN | 03023TYJ | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras-tgz/x86_64/MLNX_OFED_LINUX-5.1-2.5.2.0-openeuler20.03-x86_64-ext.tgz
15b3 | 1015 | 19e5 | d11b | aarch64 | openEuler 20.03 LTS SP1 | mlx5_core | 5.1-2.5.2 | NIC | 2021.4.16 | 4d6ac45a022480d99756907d6536596f | 241MB | Mellanox | SP333 | CX4 Lx EN | 03023TYJ | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras-tgz/aarch64/MLNX_OFED_LINUX-5.1-2.5.2.0-openeuler20.03-aarch64-ext.tgz
19e5 | 3714 | 19e5 | 5133 | x86_64 | openEuler 20.03 LTS SP1 | nvme | version 1(SYSV) | SSD | 2020.12.28 | 67CB2F34DC66D76DE0C84BBF64688B91CE243549 | 17.6KB | Huawei | ES3600C V5-3200GB | Hi1812E V100 | 03032YRF | inbox
19e5 | 3714 | 19e5 | 5133 | aarch64 | openEuler 20.03 LTS SP1 | nvme | version 1(SYSV) | SSD | 2020.12.28 | 4C5D1B8BFF927AAADF5D6AFC162F91CE0445A417 | 17.6KB | Huawei | ES3600C V5-3200GB | Hi1812E V100 | 03032YRF | inbox
19e5 | 1822 | 19e5 | d129 | x86_64 | openEuler 20.03 LTS SP1 | hinic | 2.3.2.16 | NIC | 2020.12.28 | 67CB2F34DC66D76DE0C84BBF64688B91CE243549 | 844KB | Huawei | SP570 | 1822 | 02312BWF | inbox
19e5 | 1822 | 19e5 | d129 | aarch64 | openEuler 20.03 LTS SP1 | hinic | 2.3.2.16 | NIC | 2020.12.28 | 4C5D1B8BFF927AAADF5D6AFC162F91CE0445A417 | 844KB | Huawei | SP570 | 1822 | 02312BWF | inbox
8086 | 37d1 | 19e5 | d122 | x86_64 | openEuler 20.03 LTS SP1 | i40e | 2.8.20-k | NIC | 2020.12.28 | 67CB2F34DC66D76DE0C84BBF64688B91CE243549 | 728KB | Intel | LOM | X722 | 38130153 | inbox
1000 | 0017 | 19e5 | d213 | x86_64 | openEuler 20.03 LTS SP1 | megaraid_sas | 07.714.04.00-rh1 | raid | 2020.12.28 | 67CB2F34DC66D76DE0C84BBF64688B91CE243549 | 68.4KB | Avago | SR150-M | 3408iMR | 03024JNF | inbox
1000 | 0017 | 19e5 | d213 | aarch64 | openEuler 20.03 LTS SP1 | megaraid_sas | 07.714.04.00-rh1 | raid | 2020.12.28 | 4C5D1B8BFF927AAADF5D6AFC162F91CE0445A417 | 68.4KB | Avago | SR150-M | 3408iMR | 03024JNF | inbox
8086 | 1521 | 19e5 | d112 | x86_64 | openEuler 20.03 LTS SP1 | igb | 5.4.0-k | NIC | 2020.12.28 | 67CB2F34DC66D76DE0C84BBF64688B91CE243549 | 487KB | Intel | SP210 | i350 | 02311DCA | inbox
8086 | 1521 | 19e5 | d112 | aarch64 | openEuler 20.03 LTS SP1 | igb | 5.4.0-k | NIC | 2020.12.28 | 67CB2F34DC66D76DE0C84BBF64688B91CE243549 | 487KB | Intel | SP210 | i350 | 02311DCA | inbox
10df | e300 | 10df | e310 | x86_64 | openEuler 20.03 LTS SP1 | lpfc | 0.1 | FC | 2021.03.05 | 67CB2F34DC66D76DE0C84BBF64688B91CE243549 | 3.4MB | Emulex | LPe31002 | XE501 | 06030463 | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras-tgz/x86_64/elx-lpfc-dd-openEuler20-12.8.340.17-ds-1.x86_64.tgz
10df | e300 | 10df | e310 | aarch64 | openEuler 20.03 LTS SP1 | lpfc | 12.8.340.17-1 | FC | 2021.04.25 | 67CB2F34DC66D76DE0C84BBF64688B91CE243549 | 3.4MB | Emulex | LPe31002 | XE501 | 06030463 | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras-tgz/aarch64/elx-lpfc-dd-openEuler20-12.8.340.17-ds-1.aarch64.tgz
10df | f100 | 10df | f100 | x86_64 | openEuler 20.03 LTS SP1 | lpfc | 0.1 | FC | 2021.03.05 | 67CB2F34DC66D76DE0C84BBF64688B91CE243549 | 3.4MB | Emulex | LPe12000 | IOC540 | 06030216 | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras-tgz/x86_64/elx-lpfc-dd-openEuler20-12.8.340.17-ds-1.x86_64.tgz
19e5 | a222 | 0000 | 0000 | aarch64 | openEuler 20.03 LTS SP1 | hns3 | 1.9.38.8 | NIC | 2020.12.28 | 4C5D1B8BFF927AAADF5D6AFC162F91CE0445A417 | 164KB | Huawei | TM210/TM280 | hisi | 03025VYQ | inbox
19e5 | a221 | 0000 | 0000 | aarch64 | openEuler 20.03 LTS SP1 | hns3 | 1.9.38.8 | NIC | 2020.12.28 | 4C5D1B8BFF927AAADF5D6AFC162F91CE0445A417 | 164KB | Huawei | TM210/TM280 | hisi | 03025VYQ | inbox
19e5 | a222 | 19e5 | 04cc | aarch64 | openEuler 20.03 LTS SP1 | hns3 | 1.9.38.8 | NIC | 2020.12.28 | 4C5D1B8BFF927AAADF5D6AFC162F91CE0445A417 | 164KB | Huawei | TM210 | hisi | 03025VYQ | inbox
19e5 | a221 | 19e5 | 04cc | aarch64 | openEuler 20.03 LTS SP1 | hns3 | 1.9.38.8 | NIC | 2020.12.28 | 4C5D1B8BFF927AAADF5D6AFC162F91CE0445A417 | 164KB | Huawei | TM210 | hisi | 03025VYQ | inbox
1000 | 0017 | 19e5 | d213 | aarch64 | openEuler 20.03 LTS SP1 | megaraid_sas | 31.100.01.00 | raid | 2020.12.28 | 4C5D1B8BFF927AAADF5D6AFC162F91CE0445A417 | 103.4KB | Avago | SR150-M | 3408iMR | 03033FAT | inbox
1000 | 0016 | 19e5 | d215 | aarch64 | openEuler 20.03 LTS SP1 | megaraid_sas | 31.100.01.00 | raid | 2020.12.28 | 4C5D1B8BFF927AAADF5D6AFC162F91CE0445A417 | 103.4KB | Avago | SR450C-M | 3508 | 03033EFT | inbox
1000 | 00af | 19e5 | d225 | aarch64 | openEuler 20.03 LTS SP1 | mpt3sas | 31.100.01.00 | raid | 2020.12.28 | 4C5D1B8BFF927AAADF5D6AFC162F91CE0445A417 | 103.4KB | Avago | SP150IT-M | 3408IT | 02312HFD | inbox
1000 | 00af | 19e5 | d225 | x86_64 | openEuler 20.03 LTS SP1 | mpt3sas | 31.100.01.00 | raid | 2020.12.28 | 67CB2F34DC66D76DE0C84BBF64688B91CE243549 | 103.4KB | Avago | SP150IT-M | 3408IT | 02312HFD | inbox
15b3 | 1017 | 15b3 | 0020 | aarch64 | openEuler 20.03 LTS SP1 | mlx5_core | 5.1-2.5.2 | NIC | 2021.4.16 | 4d6ac45a022480d99756907d6536596f | 241MB | Mellanox | MCX512A-ACAT | ConnectX-5 EN | 06310156 | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras-tgz/aarch64/MLNX_OFED_LINUX-5.1-2.5.2.0-openeuler20.03-aarch64-ext.tgz
15b3 | 1017 | 15b3 | 0020 | x86_64 | openEuler 20.03 LTS SP1 | mlx5_core | 5.1-2.5.2 | NIC | 2021.3.19 | 4d6ac45a022480d99756907d6536596f | 1.1MB | Mellanox | MCX512A-ACAT | ConnectX-5 EN | 06310156 | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras-tgz/x86_64/MLNX_OFED_LINUX-5.1-2.5.2.0-openeuler20.03-x86_64-ext.tgz
15b3 | 1015 | 15b3 | 009c | aarch64 | openEuler 20.03 LTS SP1 | mlx5_core | 5.1-2.5.2 | NIC | 2021.4.16 | 4d6ac45a022480d99756907d6536596f | 241MB | Mellanox | MCX4121A-ACAT | CX4 Lx EN | 06310106 | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras-tgz/aarch64/MLNX_OFED_LINUX-5.1-2.5.2.0-openeuler20.03-aarch64-ext.tgz
15b3 | 1015 | 15b3 | 009c | x86_64 | openEuler 20.03 LTS SP1 | mlx5_core | 5.1-2.5.2 | NIC | 2021.3.19 | 4d6ac45a022480d99756907d6536596f | 1.1MB | Mellanox | MCX4121A-ACAT | CX4 Lx EN | 06310106 | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras-tgz/x86_64/MLNX_OFED_LINUX-5.1-2.5.2.0-openeuler20.03-x86_64-ext.tgz
15b3 | 1015 | 19e5 | d11b | x86_64 | openEuler 20.03 LTS SP1 | mlx5_core | 5.1-2.5.2 | NIC | 2021.3.19 | 4d6ac45a022480d99756907d6536596f | 1.1MB | Mellanox | SP333 | CX4 Lx EN | 02311WTS | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras-tgz/x86_64/MLNX_OFED_LINUX-5.1-2.5.2.0-openeuler20.03-x86_64-ext.tgz
8086 | 1521 | 19e5 | d113 | x86_64 | openEuler 20.03 LTS SP1 | igb | 5.4.0-k | NIC | 2020.12.28 | 67CB2F34DC66D76DE0C84BBF64688B91CE243549 | 487KB | Intel | SP212 | I350 | 02311CWM | inbox
8086 | 158b | 8086 | 0002 | x86_64 | openEuler 20.03 LTS SP1 | i40e | 2.3.2-k | NIC | 2020.12.28 | 67CB2F34DC66D76DE0C84BBF64688B91CE243549 | 649KB | Intel | Intel XXV710DA2G1P5 948661 | XXV710DA2G1P5 948661 |  | inbox
8086 | 1584 | 8086 | 0000 | x86_64 | openEuler 20.03 LTS SP1 | i40e | 2.3.2-k | NIC | 2020.12.28 | 67CB2F34DC66D76DE0C84BBF64688B91CE243549 | 649KB | Intel | Silicom PE340G2QI71E-QX4-HU | XL710 | 06310111 | inbox
19e5 | 1822 | 19e5 | d136 | aarch64 | openEuler 20.03 LTS SP1 | hinic | 2.3.2.18 | NIC | 2021.5.11 | 554DFB914E75278081ECBEC60A50AF95B0C7C543 | 847KB | Huawei | SP580 | Hi1822 | 02312QRP | inbox
19e5 | 1822 | 19e5 | d136 | x86_64 | openEuler 20.03 LTS SP1 | hinic | 2.3.2.16 | NIC | 2020.12.13 | 67CB2F34DC66D76DE0C84BBF64688B91CE243549 | 944KB | Huawei | SP580 | Hi1822 | 02312QRP | inbox
|  |  |  | x86_64 | openEuler 20.03 LTS SP1 | nouveau | 460.73.01 | GPU | 2021.4.19 |  | 169.03MB | NVIDIA | Tesla V100 | GV100 | 06320119 | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras-tgz/x86_64/NVIDIA-Linux-x86_64-460.73.01.run
|  |  |  | x86_64 | openEuler 20.03 LTS SP1 | nouveau | 460.73.01 | GPU | 2021.4.19 |  | 169.03MB | NVIDIA | Tesla A100 | A100 | 06320168 | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras-tgz/x86_64/NVIDIA-Linux-x86_64-460.73.01.run
1000 | 0016 | 19e5 | da15 | x86_64 | openEuler 20.03 LTS SP1 | megaraid_sas | 31.100.01.00 | raid | 2020.12.28 | 4C5D1B8BFF927AAADF5D6AFC162F91CE0445A417 | 103.4KB | Avago | SR450C-M | 3508 | 03033EFT | inbox
10df | e200 | 10df | e280 | x86_64 | openEuler 20.03 LTS SP1 | lpfc | 0:12.8.340.17 | FC | 2021.4.25 |  | 3.5MB | Emulex | LPE16002 | XE201 | 06030276 | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras-tgz/x86_64/elx-lpfc-dd-openEuler20-12.8.340.17-ds-1.x86_64.tgz
10df | e200 | 10df | e280 | aarch64 | openEuler 20.03 LTS SP1 | lpfc | 0:12.8.340.17 | FC | 2021.4.25 |  | 3.4MB | Emulex | LPE16002 | XE201 | 06030276 | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras-tgz/aarch64/elx-lpfc-dd-openEuler20-12.8.340.17-ds-1.aarch64.tgz
8086 | 1572 | 19e5 | d11c | aarch64 | openEuler 20.03 LTS SP1 | i40e | 2.15.9 | NIC | 2021.4.20 |  | 2.4MB | Intel | SP330 | X710 | 06310200 | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras/aarch64/Packages/i40e-2.15.9-1.aarch64.rpm
8086 | 1572 | 19e5 | d11c | x86_64 | openEuler 20.03 LTS SP1 | i40e | 2.15.9 | NIC | 2021.4.20 |  | 2.5MB | Intel | SP330 | X710 | 06310200 | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras/x86_64/Packag/i40e-2.15.9-1.x86_64.rpm
15b3 | 1015 | 15b3 | 0004 | aarch64 | openEuler 20.03 LTS SP1 | mlx5_core | 5.0-0 | NIC | 2021.5.11 | 554DFB914E75278081ECBEC60A50AF95B0C7C543 | 970KB | Mellanox | MCX4121A-XCAT | CX4 | 06310161 | inbox
15b3 | 1015 | 15b3 | 0004 | x86_64 | openEuler 20.03 LTS SP1 | mlx5_core | 5.0-0 | NIC | 2020.12.13 | 67CB2F34DC66D76DE0C84BBF64688B91CE243549 | 1.4MB | Mellanox | MCX4121A-XCAT | CX4 | 06310161 | inbox
14e4 | 16a1 | 1077 | e3c1 | aarch64 | openEuler 20.03 LTS SP1 | bnx2x | 1.712.30-0 | NIC | 2021.3.11 | 554DFB914E75278081ECBEC60A50AF95B0C7C543 | 1.3MB | QLogic | QLE3442-RJ-SP | BCM57840 | 06310110 | inbox
14e4 | 16a1 | 1077 | e3c1 | x86_64 | openEuler 20.03 LTS SP1 | bnx2x | 1.712.30-0 | NIC | 2020.12.23 | 67CB2F34DC66D76DE0C84BBF64688B91CE243549 | 1.3MB | QLogic | QLE3442-RJ-SP | BCM57840 | 06310110 | inbox
8086 | 159b | 8086 | 0003 | x86_64 | openEuler 20.03 LTS SP1 | ice | 1.4.11 | NIC | 2021.4.20 |  | 5.4MB | Intel | E810XXVDA2G1P5 | E810-XXV | 06310219 | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras/x86_64/Packages/ice-1.4.11-1.x86_64.rpm
1000 | 0014 | 19e5 | da16 | aarch64 | openEuler 20.03 LTS SP1 | megaraid_sas | 07.706.03.00-rc1 | raid | 2021.5.11 | 554DFB914E75278081ECBEC60A50AF95B0C7C543 | 293KB | Huawei | SP460C-M | SAS3516 | 03024JNE | inbox
10df | e300 | 10df | e300 | x86_64 | openEuler 20.03 LTS SP1 | lpfc | 0:12.8.340.17 | FC | 2021.04.25 |  | 3.4MB | Emulex | LPe32002-AP | XE201 | 06030393 | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras-tgz/x86_64/MLNX_OFED_LINUX-5.1-2.5.2.0-openeuler20.03-x86_64-ext.tgz
19e5 | 0206 | 19e5 | d138 | x86_64 | openEuler 20.03 LTS SP1 | hinic | 2.3.2.16 | NIC | 2020.12.13 | 67CB2F34DC66D76DE0C84BBF64688B91CE243549 | 944KB | Huawei | SP582 | Hi1822 | 03025PWB | inbox
19e5 | 0206 | 19e5 | d138 | aarch64 | openEuler 20.03 LTS SP1 | hinic | 2.3.2.16 | NIC | 2021.5.11 | 554DFB914E75278081ECBEC60A50AF95B0C7C543 | 847KB | Huawei | SP582 | Hi1822 | 03025PWB | inbox
1077 | 2532 | 1077 | 015D | aarch64 | openEuler 20.03 LTS | qla2xxx | 10.02.04.00-k | FC | 2021.3.22 |  | 922KB | Marvell/Qlogic | QLE2562 | ISP2532 | 06030220 | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras/aarch64/Packages/qla2xxx-10.02.04.00_k-1dkms.noarch.rpm
1077 | 2261 | 1077 | 029B | aarch64 | openEuler 20.03 LTS | qla2xxx | 10.02.04.00-k | FC | 2021.3.22 |  | 922KB | Marvell/Qlogic | QLE2690 | ISP2722 | 06030381 | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras/aarch64/Packages/qla2xxx-10.02.04.00_k-2dkms.noarch.rpm
1077 | 2261 | 1077 | 029C | aarch64 | openEuler 20.03 LTS | qla2xxx | 10.02.04.00-k | FC | 2021.3.22 |  | 922KB | Marvell/Qlogic | QLE2692 | ISP2722 | 06030382 | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras/aarch64/Packages/qla2xxx-10.02.04.00_k-3dkms.noarch.rpm
1077 | 2261 | 1077 | 0299 | aarch64 | openEuler 20.03 LTS | qla2xxx | 10.02.04.00-k | FC | 2021.3.22 |  | 922KB | Marvell/Qlogic | QLE2740 | ISP2722 | 06030390 | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras/aarch64/Packages/qla2xxx-10.02.04.00_k-4dkms.noarch.rpm
1077 | 2261 | 1077 | 029A | aarch64 | openEuler 20.03 LTS | qla2xxx | 10.02.04.00-k | FC | 2021.3.22 |  | 922KB | Marvell/Qlogic | QLE2742 | ISP2722 | 06030392 | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras/aarch64/Packages/qla2xxx-10.02.04.00_k-5dkms.noarch.rpm
15b3 | 1017 | 15b3 | 0007 | x86_64 | openEuler 20.03 LTS SP1 | mlx5_core | 5.0-0 | NIC | 2020.12.23 | 554DFB914E75278081ECBEC60A50AF95B0C7C543 | 1.4MB | Mellanox | MCX516A-CCAT | CX5 | 06310158 | inbox
15b3 | 1017 | 15b3 | 0007 | aarch64 | openEuler 20.03 LTS SP1 | mlx5_core | 5.0-0 | NIC | 2021.5.11 | 554DFB914E75278081ECBEC60A50AF95B0C7C543 | 972KB | Mellanox | MCX516A-CCAT | CX5 | 06310158 | inbox
8086 | 1528 | 19e5 | d110 | x86_64 | openEuler 20.03 LTS SP1 | ixgbe | 5.11.3 | NIC | 2020.12.23 | 67CB2F34DC66D76DE0C84BBF64688B91CE243549 | 720KB | Huawei | SM233 | X540 | 03022GEX | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras/x86_64/Packages/ixgbe-5.11.3-1.x86_64.rpm
19e5 | 0200 | 19e5 | d139 | x86_64 | openEuler 20.03 LTS SP1 | hinic | 2.3.2.16 | NIC | 2020.12.23 | 67CB2F34DC66D76DE0C84BBF64688B91CE243549 | 944KB | Huawei | SP572 | Hi1822 | 02312VRQ | inbox
8086 | 10fb | 19e5 | d111 | x86_64 | openEuler 20.03 LTS SP1 | ixgbe | 5.1.0-k | NIC | 2021.05.11 | 76821136DAD86DDA4D14A3F64AB759646B955C98 | 719kB | Huawei | SP310 | 82599 | 03030WSQ | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras/x86_64/Packages/ixgbe-5.11.3-1.x86_64.rpm
8086 | 1522 | 8086 | 00a4 | x86_64 | openEuler 20.03 LTS SP1 | igb | 5.5.2 | NIC | 2021.4.19 |  | 19MB | Intel | Intel I350F2G1P20 914215 | i350 | 06310058 | inbox
15b3 | 1013 | 15b3 | 0006 | x86_64 | openEuler 20.03 LTS SP1 | mlx5_core | 5.0-0 | NIC | 2020.12.23 | 554DFB914E75278081ECBEC60A50AF95B0C7C543 | 1.4MB | Mellanox | MCX416A-BCAT | ConnectX-4 | 06310151 | inbox
8086 | 1563 | 19e5 | d11a | x86_64 | openEuler 20.03 LTS SP1 | ixgbe | 5.11.3 | NIC | 2021.4.19 |  | 14MB | intel | SP331 | x550 | 06310198 | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras/x86_64/Packages/ixgbe-5.11.3-1.x86_64.rpm
8086 | 1563 | 19e5 | d11a | aarch64 | openEuler 20.03 LTS SP1 | ixgbe | 5.11.3 | NIC | 2021.4.20 |  | 2.3MB | intel | SP331 | x550 | 06310198 | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras/aarch64/Packages/ixgbe-5.11.3-1.aarch64.rpm
8086 | 1583 | 8086 | 0002 | x86_64 | openEuler 20.03 LTS SP1 | i40e | 2.15.9 | NIC | 2021.4.19 |  | 13MB | intel | EXL710QDA2G1P5 | XL710 | 06310146 | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras/x86_64/Packages/i40e-2.15.9-1.x86_64.rpm
8086 | 1583 | 8086 | 0002 | aarch64 | openEuler 20.03 LTS SP1 | i40e | 2.15.9 | NIC | 2021.4.20 |  | 2.4MB | intel | EXL710QDA2G1P5 | XL710 | 06310146 | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras/aarch64/Packages/i40e-2.15.9-1.aarch64.rpm
8086 | 1584 | 8086 | 0002 | x86_64 | openEuler 20.03 LTS SP1 | i40e | 2.15.9 | NIC | 2021.4.19 |  | 13MB | intel | XL710QSR1G1P5 950495 | XL710 | 06310102 | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras/x86_64/Packages/i40e-2.15.9-1.x86_64.rpm
8086 | 1584 | 8086 | 0002 | aarch64 | openEuler 20.03 LTS SP1 | i40e | 2.15.9 | NIC | 2021.4.20 |  | 2.4MB | intel | XL710QSR1G1P5 950495 | XL710 | 06310102 | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras/aarch64/Packages/i40e-2.15.9-1.aarch64.rpm
9005 | 028f | 9005 | 0801 | aarch64 | openEuler 20.03 LTS SP1 | smartpqi | 1.1.4-130 | raid | 2020.12.21 |  | 143KB | PMC | SAS 3152 | PM3152 | 02312USW | inbox
10df | e300 | 10df | e300 | aarch64 | openEuler 20.03 LTS SP1 | lpfc | 0:12.8.340.17 | FC | 2021.4.25 |  | 3.4MB | Emulex | LPe32002-AP | XE201 | 06030393 | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras-tgz/aarch64/elx-lpfc-dd-openEuler20-12.8.340.17-ds-1.aarch64.tgz
19e5 | a222 | 19e5 | 04cc | aarch64 | openEuler 20.03 LTS | hns3 | 1.9.37.2 | NIC |  |  |  | Huawei | TM280 | hisi_eth | 03025VYP | inbox
19e5 | a221 | 19e5 | 04cc | aarch64 | openEuler 20.03 LTS | hns3 | 1.9.37.2 | NIC |  |  |  | Huawei | TM280 | hisi_eth | 03025VYP | inbox
15b3 | 1015 | 19e5 | D11B | aarch64 | openEuler 20.03 LTS | mlx5_core | 5.1-2.4.1 | NIC |  |  |  | Mellanox | SP333 | CX4Lx |  | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras-tgz/aarch64/MLNX_OFED_LINUX-5.1-2.5.2.0-openeuler20.03-aarch64-ext.tgz
15b3 | 1017 | 19e5 | d120 | aarch64 | openEuler 20.03 LTS | mlx5_core | 5.1-2.4.1 | IB |  |  |  | Mellanox | SP350 | CX5 | 03024QAX | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras-tgz/aarch64/MLNX_OFED_LINUX-5.1-2.5.2.0-openeuler20.03-aarch64-ext.tgz
15b3 | 1017 | 19e5 | d126 | aarch64 | openEuler 20.03 LTS | mlx5_core | 5.1-2.4.1 | IB |  |  |  | Mellanox | SP351 | CX5 | 03012SGN | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras-tgz/aarch64/MLNX_OFED_LINUX-5.1-2.5.2.0-openeuler20.03-aarch64-ext.tgz
15b3 | 1017 | 19e5 | d126 | x86_64 | openEuler 20.03 LTS SP1 | mlx5_core | 5.1-2.5.2 | IB | 2021.04.14 |  | 2.8MB | Mellanox | SP351 | MT27808A0-FCCF-EV | 03024QAY | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras-tgz/x86_64/MLNX_OFED_LINUX-5.1-2.5.2.0-openeuler20.03-x86_64-ext.tgz
15b3 | 1015 | 15b3 | 0069 | aarch64 | openEuler 20.03 LTS | mlx5_core | 5.1-0.6.6 | NIC |  |  |  | Mellanox | MCX4121A-ACUT | CX4Lx | 06310183 | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras-tgz/aarch64/MLNX_OFED_LINUX-5.1-2.5.2.0-openeuler20.03-aarch64-ext.tgz
15b3 | 1017 | 15b3 | 0160 | aarch64 | openEuler 20.03 LTS | mlx5_core | 5.1-2.4.1 | NIC |  |  |  | Mellanox | MCX515A-CCUT | CX5 | 06310184 | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras-tgz/aarch64/MLNX_OFED_LINUX-5.1-2.5.2.0-openeuler20.03-aarch64-ext.tgz
15b3 | 1017 | 15b3 | 0121 | aarch64 | openEuler 20.03 LTS | mlx5_core | 5.1-2.4.1 | NIC |  |  |  | Mellanox | MCX512A-ACUT | CX5 | 06310169 | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras-tgz/aarch64/MLNX_OFED_LINUX-5.1-2.5.2.0-openeuler20.03-aarch64-ext.tgz
1000 | 0017 | 1000 | 9440 | aarch64 | openEuler 20.03 LTS | megaraid_sas | 07.714.04.00 | RAID | 2021.4.28 |  | 93KB | Avago | 9440-8i | 3408iMR | 02312QWY | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS/extras/aarch64/Packages/RAID-3408iMR_3416iMR_3508_3516-openEuler20.03-megaraid_sas-07.714.04.00-aarch64.rpm
19e5 | 0203 | 19e5 | d305 | aarch64 | openEuler 20.03 LTS | hifc | 3.7.0.8 | FC | 2021.4.28 |  | 816KB | Huawei | SP525(single-port) | IN300 | 02312SEF | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS/extras/aarch64/Packages/FC-IN300-openEuler20.03-hifc-3.7.0.8-aarch64.rpm
19e5 | 0203 | 19e5 | d305 | aarch64 | openEuler 20.03 LTS | hifc | 3.7.0.8 | FC | 2021.4.28 |  | 816KB | Huawei | SP525(dual-port) | IN300 |  | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS/extras/aarch64/Packages/FC-IN300-openEuler20.03-hifc-3.7.0.8-aarch64.rpm
19e5 | 1822 | 19e5 | d136 | aarch64 | openEuler 20.03 LTS | hinicadm | 3.7.0.8 | NIC | 2021.4.28 |  | 423KB | Huawei | SP580 | Hi1822 |  | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS/extras/aarch64/Packages/NIC-IN200-openEuler20.03-hinicadm-3.7.0.8-aarch64.rpm
19e5 | 0206 | 19e5 | d138 | aarch64 | openEuler 20.03 LTS | hinicadm | 3.7.0.8 | NIC | 2021.4.28 |  | 423KB | Huawei | SP582 | Hi1822 |  | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS/extras/aarch64/Packages/NIC-IN200-openEuler20.03-hinicadm-3.7.0.8-aarch64.rpm
15b3 | 1015 | 19e5 | d12c | x86_64 | openEuler 20.03 LTS | mlx5_core | 5.1-2.5.8 | NIC |  |  |  | Mellanox | SM380 | CX4Lx | 02312DJG | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras-tgz/x86_64/MLNX_OFED_LINUX-5.1-2.5.2.0-openeuler20.03-x86_64-ext.tgz
15b3 | 1017 | 15b3 | 0121 | x86_64 | openEuler 20.03 LTS | mlx5_core | 5.1-2.5.8 | NIC |  |  |  | Mellanox | MCX512A-ACUT | CX5 | 06310169 | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras-tgz/x86_64/MLNX_OFED_LINUX-5.1-2.5.2.0-openeuler20.03-x86_64-ext.tgz
15b3 | 1017 | 15b3 | 0068 | x86_64 | openEuler 20.03 LTS | mlx5_core | 5.1-2.5.8 | NIC |  |  |  | Mellanox | MCX542B-ACAN | CX5 | 02312USR | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras-tgz/x86_64/MLNX_OFED_LINUX-5.1-2.5.2.0-openeuler20.03-x86_64-ext.tgz
15b3 | 1017 | 15b3 | 0068 | x86_64 | openEuler 20.03 LTS | mlx5_core | 5.1-2.5.8 | NIC |  |  |  | Mellanox | SP381 | CX5 | 02312SCJ | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras-tgz/x86_64/MLNX_OFED_LINUX-5.1-2.5.2.0-openeuler20.03-x86_64-ext.tgz
15b3 | 1019 | 15b3 | 0113 | x86_64 | openEuler 20.03 LTS | mlx5_core | 5.1-2.5.8 | NIC |  |  |  | Mellanox | MCX565M-CDAB | CX5Ex | 06310164 | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras-tgz/x86_64/MLNX_OFED_LINUX-5.1-2.5.2.0-openeuler20.03-x86_64-ext.tgz
8086 | 1522 | 8086 | 00a4 | x86_64 | openEuler 20.03 LTS | igb | 5.4.0-k | NIC | 2021.4.26 |  | 2.39MB | Intel | Intel I350F2G1P20 914215 | I350 | 06310058 | inbox
8086 | 1521 | 19e5 | d10c | x86_64 | openEuler 20.03 LTS | igb | 5.4.0-k | NIC | 2021.4.26 |  | 2.39MB | Intel | SM211 | I350 | 02311TWW | inbox
8086 | 1572 | 19e5 | d12e | x86_64 | openEuler 20.03 LTS | i40e | 2.12.6 | NIC | 2021.4.26 |  | 2.39MB | Intel | SM330 | X710 | 02312LDN | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras/x86_64/Packages/NIC-X710_X722_XL710_XXV710-openEuler20.03-i40e-2.12.6-1-x86_64.rpm
8086 | 37ce | 19e5 | df2a | x86_64 | openEuler 20.03 LTS | i40e | 2.12.6 | NIC | 2021.4.26 |  | 2.39MB | Intel | LOM-X722 | X722 | 38130153 | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras/x86_64/Packages/NIC-X710_X722_XL710_XXV710-openEuler20.03-i40e-2.12.6-1-x86_64.rpm
8086 | 37d0 | 19e5 | d123 | x86_64 | openEuler 20.03 LTS | i40e | 2.12.6 | NIC | 2021.4.26 |  | 2.39MB | Intel | LOM-X722 | X722 | 38130153 | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras/x86_64/Packages/NIC-X710_X722_XL710_XXV710-openEuler20.03-i40e-2.12.6-1-x86_64.rpm
8086 | 37d1 | 19e5 | d123 | x86_64 | openEuler 20.03 LTS | i40e | 2.12.6 | NIC | 2021.4.26 |  | 2.39MB | Intel | LOM-X722 | X722 | 38130153 | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras/x86_64/Packages/NIC-X710_X722_XL710_XXV710-openEuler20.03-i40e-2.12.6-1-x86_64.rpm
8086 | 37d2 | 19e5 | d122 | x86_64 | openEuler 20.03 LTS | i40e | 2.12.6 | NIC | 2021.4.26 |  | 2.39MB | Intel | LOM-X722 | X722 | 38130153 | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras/x86_64/Packages/NIC-X710_X722_XL710_XXV710-openEuler20.03-i40e-2.12.6-1-x86_64.rpm
8086 | 1572 | 19e5 | d11d | x86_64 | openEuler 20.03 LTS | i40e | 2.12.6 | NIC | 2021.4.26 |  | 2.39MB | Intel | SP332 | XL710 | 02311WTU | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras/x86_64/Packages/NIC-X710_X722_XL710_XXV710-openEuler20.03-i40e-2.12.6-1-x86_64.rpm
1000 | 005f | 19e5 | d223 | x86_64 | openEuler 20.03 LTS | megaraid_sas | 07.714.04.00 | RAID | 2021.4.26 |  | 85KB | Avago | SR230-M | 3004iMR | 03024RLG | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS/extras/x86_64/Packages/RAID-3004iMR_3108_3408iMR_3416iMR_3508_3516-openEuler20.03-megaraid_sas-07.714.04.00-1-x86_64.rpm
1000 | 005d | 1000 | 9361 | x86_64 | openEuler 20.03 LTS | megaraid_sas | 07.714.04.00 | RAID | 2021.4.26 |  | 85KB | Avago | 9361-8i | 3108 | 02312FFX | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS/extras/x86_64/Packages/RAID-3004iMR_3108_3408iMR_3416iMR_3508_3516-openEuler20.03-megaraid_sas-07.714.04.00-1-x86_64.rpm
1000 | 005d | 19e5 | d207 | x86_64 | openEuler 20.03 LTS | megaraid_sas | 07.714.04.00 | RAID | 2021.4.26 |  | 85KB | Avago | RU430C | 3108 | 02311DPA | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS/extras/x86_64/Packages/RAID-3004iMR_3108_3408iMR_3416iMR_3508_3516-openEuler20.03-megaraid_sas-07.714.04.00-1-x86_64.rpm
1000 | 005d | 19e5 | d207 | x86_64 | openEuler 20.03 LTS | megaraid_sas | 07.714.04.00 | RAID | 2021.4.26 |  | 85KB | Avago | SR430C-M | 3108 | 02311PCJ | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS/extras/x86_64/Packages/RAID-3004iMR_3108_3408iMR_3416iMR_3508_3516-openEuler20.03-megaraid_sas-07.714.04.00-1-x86_64.rpm
1000 | 1700 | 1000 | 9440 | x86_64 | openEuler 20.03 LTS | megaraid_sas | 07.714.04.00 | RAID | 2021.4.26 |  | 85KB | Avago | 9440-8i | 3408iMR | 02312QWY | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS/extras/x86_64/Packages/RAID-3004iMR_3108_3408iMR_3416iMR_3508_3516-openEuler20.03-megaraid_sas-07.714.04.00-1-x86_64.rpm
1000 | 1600 | 19e5 | d215 | x86_64 | openEuler 20.03 LTS | megaraid_sas | 07.714.04.00 | RAID | 2021.4.26 |  | 85KB | Avago | RU450C-M | 3508 | 03024MCK | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS/extras/x86_64/Packages/RAID-3004iMR_3108_3408iMR_3416iMR_3508_3516-openEuler20.03-megaraid_sas-07.714.04.00-1-x86_64.rpm
1000 | 1600 | 19e5 | d215 | x86_64 | openEuler 20.03 LTS | megaraid_sas | 07.714.04.00 | RAID | 2021.4.26 |  | 85KB | Avago | SR450C-M | 3508 | 03033EFT | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS/extras/x86_64/Packages/RAID-3004iMR_3108_3408iMR_3416iMR_3508_3516-openEuler20.03-megaraid_sas-07.714.04.00-1-x86_64.rpm
1000 | 1400 | 19e5 | d216 | x86_64 | openEuler 20.03 LTS | megaraid_sas | 07.714.04.00 | RAID | 2021.4.26 |  | 85KB | Avago | SP460C-M | 3516 | 03024JNE | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS/extras/x86_64/Packages/RAID-3004iMR_3108_3408iMR_3416iMR_3508_3516-openEuler20.03-megaraid_sas-07.714.04.00-1-x86_64.rpm
15b3 | 1015 | 15b3 | 009c | x86_64 | openEuler 20.03 LTS SP1 | mlx5_core | 5.2-1.0.4 | NIC |  |  |  | Mellanox | MCX4121A-ACAT_C12 | CX4Lx | 06310106 | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras-tgz/x86_64/MLNX_OFED_LINUX-5.1-2.5.2.0-openeuler20.03-x86_64-ext.tgz
15b3 | 1015 | 15b3 | 0069 | x86_64 | openEuler 20.03 LTS SP1 | mlx5_core | 5.2-1.0.4 | NIC |  |  |  | Mellanox | MCX4121A-ACUT | CX4Lx | 06310183 | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras-tgz/x86_64/MLNX_OFED_LINUX-5.1-2.5.2.0-openeuler20.03-x86_64-ext.tgz
15b3 | 1015 | 19e5 | d12c | x86_64 | openEuler 20.03 LTS SP1 | mlx5_core | 5.2-1.0.4 | NIC |  |  |  | Mellanox | SM380 | CX4Lx | 02312DJG | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras-tgz/x86_64/MLNX_OFED_LINUX-5.1-2.5.2.0-openeuler20.03-x86_64-ext.tgz
15b3 | 1017 | 15b3 | 0121 | x86_64 | openEuler 20.03 LTS SP1 | mlx5_core | 5.2-1.0.4 | NIC |  |  |  | Mellanox | MCX512A-ACUT | CX5 | 06310169 | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras-tgz/x86_64/MLNX_OFED_LINUX-5.1-2.5.2.0-openeuler20.03-x86_64-ext.tgz
15b3 | 1017 | 15b3 | 0068 | x86_64 | openEuler 20.03 LTS SP1 | mlx5_core | 5.2-1.0.4 | NIC |  |  |  | Mellanox | MCX542B-ACAN | CX5 | 02312USR | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras-tgz/x86_64/MLNX_OFED_LINUX-5.1-2.5.2.0-openeuler20.03-x86_64-ext.tgz
15b3 | 1017 | 15b3 | 0068 | x86_64 | openEuler 20.03 LTS SP1 | mlx5_core | 5.2-1.0.4 | NIC |  |  |  | Mellanox | SP381 | CX5 | 02312SCJ | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras-tgz/x86_64/MLNX_OFED_LINUX-5.1-2.5.2.0-openeuler20.03-x86_64-ext.tgz
8086 | 1572 | 19e5 | d12e | x86_64 | openEuler 20.03 LTS SP1 | i40e | 2.12.6 | NIC | 2021.4.30 |  | 2.39MB | Intel | SM330 | X710 | 02312LDN | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras/x86_64/Packages/NIC-X710_X722_XL710_XXV710-openEuler20.03SP1-i40e-2.12.6-1-x86_64.rpm
8086 | 1572 | 19e5 | d11d | x86_64 | openEuler 20.03 LTS SP1 | i40e | 2.12.6 | NIC | 2021.4.30 |  | 2.39MB | Intel | SP332 | XL710 | 02311WTU | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras/x86_64/Packages/NIC-X710_X722_XL710_XXV710-openEuler20.03SP1-i40e-2.12.6-1-x86_64.rpm
8086 | 1584 | 8086 | 0002 | x86_64 | openEuler 20.03 LTS SP1 | i40e | 2.12.6 | NIC | 2020.7.1 |  | 588KB | Intel | Intel XL710QSR1G1P5 | XL710-40GE | 06310102 | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras/x86_64/Packages/i40e-2.15.9-1.x86_64.rpm
8086 | 1583 | 8086 | 0002 | x86_64 | openEuler 20.03 LTS SP1 | i40e | 2.12.6 | NIC | 2020.7.1 |  | 588KB | Intel | Intel EXL710QDA2G1P5 | XL710 | 06310146 | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras/x86_64/Packages/i40e-2.15.9-1.x86_64.rpm
1077 | 2261 | 1077 | 0299 | x86_64 | openEuler 20.03 LTS SP1 | qla2xxx | 10.02.04.00-k | FC | 2020.3.22 |  | 922KB | Qlogic | QLE2740-HUA-SP | ISP2722 | 06030390 | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras/x86_64/Packages/qla2xxx-10.02.04.00_k-1dkms.noarch.rpm
1077 | 2261 | 1077 | 029c | x86_64 | openEuler 20.03 LTS SP1 | qla2xxx | 10.02.04.00-k | FC | 2020.3.22 |  | 922KB | Qlogic | QLE2692-HUA-SP | ISP2722 | 06030382 | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras/x86_64/Packages/qla2xxx-10.02.04.00_k-1dkms.noarch.rpm
1077 | 2261 | 1077 | 029a | x86_64 | openEuler 20.03 LTS SP1 | qla2xxx | 10.02.04.00-k | FC | 2020.3.22 |  | 922KB | QLogic | QLE2742-HUA-SP | ISP2722 | 06030392 | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras/x86_64/Packages/qla2xxx-10.02.04.00_k-1dkms.noarch.rpm
15b3 | 101b | 15b3 | 0006 | x86_64 | openEuler 20.03 LTS SP1 | mlx5_core | 5.1-2.5.2 | IB | 2021.04.14 |  | 2.8MB | Mellanox | MCX653105A-EFAT | CX6 | 06030516 | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras-tgz/x86_64/MLNX_OFED_LINUX-5.1-2.5.2.0-openeuler20.03-x86_64-ext.tgz
15b3 | 101b | 15b3 | 0006 | aarch64 | openEuler 20.03 LTS SP1 | mlx5_core | 5.1-2.5.2 | IB | 2021.04.16 |  | 241MB | Mellanox | MCX653105A-ECAT | CX6 | 06030516 | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras-tgz/aarch64/MLNX_OFED_LINUX-5.1-2.5.2.0-openeuler20.03-aarch64-ext.tgz
8086 | 10fb | 19e5 | d111 | aarch64 | openEuler 20.03 LTS SP1 | ixgbe | 5.11.3 | NIC | 2021.05.11 |  | 2.3MB | Huawei | SP310 | 82599 | 03030WSQ | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras/aarch64/Packages/ixgbe-5.11.3-1.aarch64.rpm
15b3 | 1017 | 19e5 | d120 | x86_64 | openEuler 20.03 LTS SP1 | mlx5_core | 5.1-2.5.2 | IB | 2021.04.14 |  | 308MB | Mellanox | SP350 | MT27804A0-FCCF-EV | 03024QAX | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras-tgz/x86_64/MLNX_OFED_LINUX-5.1-2.5.2.0-openeuler20.03-x86_64-ext.tgz
1000 | 0097 | 1000 | 3090 | x86_64 | openEuler 20.03 LTS SP1 | mpt3sas | 26.100.00.00 | RAID | 2020.12.23 | 67CB2F34DC66D76DE0C84BBF64688B91CE243549 | 540KB | Avago | SR130 | LSI SAS3008 | 03022CDE | inbox
10df | f100 | 10df | f100 | aarch64 | openEuler 20.03 LTS SP1 | lpfc | 0:12.8.340.17 | FC | 2021.04.25 |  | 912KB | Emulex | LPe12000 | PE12000-AP/LPE12002-AP | 06030216 | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras-tgz/aarch64/elx-lpfc-dd-openEuler20-12.8.340.17-ds-1.aarch64.tgz
15b3 | 1017 | 19e5 | d126 | aarch64 | openEuler 20.03 LTS SP1 | mlx5_core | 5.1-2.5.2 | IB | 2021.04.15 |  | 2.5MB | Mellanox | SP351 | MT27808A0-FCCF-EV | 03024QAY | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras-tgz/aarch64/MLNX_OFED_LINUX-5.1-2.5.2.0-openeuler20.03-aarch64-ext.tgz
10de | 1b38 | 10de | 11d9 | x86_64 | openEuler 20.03 LTS SP1 | nouveau | 460.32.03 | GPU | 2021.04.19 |  | 170MB | NVIDIA | Tesla P40 | GP102 | 063201004 | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras-tgz/x86_64/NVIDIA-Linux-x86_64-460.32.03.run | 驱动使能完成，未找到对应的Nvqual工具包
14e4 | 16d7 | 14e4 | 1402 | x86_64 | openEuler 20.03 LTS SP1 | bnxt_en | 1.9.2 | NIC | 2020.12.23 | 67CB2F34DC66D76DE0C84BBF64688B91CE243549 | 393KB | Broadcom Limited | BCM957414A4142CC_08 | BCM57414 | 06310148 | inbox | 25G光模块不可识别，10G光模块识别正常，使用10G光模块完成的测试
14e4 | 16d7 | 14e4 | 1402 | aarch64 | openEuler 20.03 LTS SP1 | bnxt_en | 1.9.2 | NIC | 2020.12.23 | 2EEC80BC58F59DBB7551CA377B2997E2F4C01CC4 | 349KB | Broadcom Limited | BCM957414A4142CC_08 | BCM57414 | 06310148 | inbox
10de | 1bb3 | 1bb3 | 11d8 | x86_64 | openEuler 20.03 LTS SP1 | nouveau | 460.32.03 | GPU | 2021.04.19 |  | 170MB | NVIDIA | Tesla P4 | GP104GL | 02312HEX | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras-tgz/x86_64/NVIDIA-Linux-x86_64-460.32.03.run
10de | 13f2 | 10de | 115e | x86_64 | openEuler 20.03 LTS SP1 | nouveau | 460.32.03 | GPU | 2021.04.19 |  | 170MB | NVIDIA | Tesla M60 | GM204GL | 06320094 | https://repo.oepkgs.net/openEuler/rpm/openEuler-20.03-LTS-SP1/extras-tgz/x86_64/NVIDIA-Linux-x86_64-460.32.03.run

## Sheet2
板卡 | 问题
TM280 | upload达不到标准